## Sheet1
Location | Site Name | Site ID | Network Type | Alarm Source | Alarm Name | VSWR | Raw Alarm Severity | First Occurred On | Last Occurred On | Clearance Status | Alarm Location Info | Vendor | Mail Received Time
BOUAKE | MANKONO | AC297 | 2G,3G,4G | MANKONO | Board Temperature Unacceptable |  | Minor | 2026-05-08 18:04:41 | 2026-05-08 18:04:41 | Uncleared | Cabinet No.=0, Subrack No.=0, Slot No.=16, Board Type=FAN, Current Board Temperature (C/F)=81/178, Specific Problem=Temperature too High | HUAWEI | 2026-05-09 00:20:14
BOUAKE | MANKONO | AC297 | 2G,3G,4G | MANKONO | Board Temperature Unacceptable |  | Minor | 2026-05-08 21:14:45 | 2026-05-08 21:14:45 | Uncleared | Cabinet No.=0, Subrack No.=0, Slot No.=7, Board Type=UMPT, Current Board Temperature (C/F)=90/194, Specific Problem=Temperature too High | HUAWEI | 2026-05-09 00:20:14
ABIDJAN 04 | MASSIMBA | AC172 | 3G | BB_AC172_W | Critical Temperature Performance Degraded |  | Minor | 2026-05-08 03:49:12 | 2026-05-08 23:52:08 | Uncleared | SubNetwork=RNC,SubNetwork=AORNC09,SubNetwork=AORNC09_RadioNode,MeContext=BB_AC172_W,ManagedElement=BB_AC172_W,Equipment=1,FieldReplaceableUnit=RRUS-5 2507037456 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | MASSIMBA | AC172 | 2G,4G | BB_AC172_GL | Critical Temperature Performance Degraded |  | Minor | 2026-05-08 03:49:12 | 2026-05-08 23:52:08 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_AC172_GL,ManagedElement=BB_AC172_GL,Equipment=1,FieldReplaceableUnit=RRUS-11_B8 2507023074 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | MASSIMBA | AC172 | 3G | BB_AC172_W | Critical Temperature Performance Degraded |  | Minor | 2026-05-08 19:28:45 | 2026-05-08 19:28:45 | Uncleared | SubNetwork=RNC,SubNetwork=AORNC09,SubNetwork=AORNC09_RadioNode,MeContext=BB_AC172_W,ManagedElement=BB_AC172_W,Equipment=1,FieldReplaceableUnit=RRUS-4 2507652343 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | MASSIMBA | AC172 | 2G,4G | BB_AC172_GL | Critical Temperature Performance Degraded |  | Minor | 2026-05-08 19:28:45 | 2026-05-08 19:28:45 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_AC172_GL,ManagedElement=BB_AC172_GL,Equipment=1,FieldReplaceableUnit=RRUS-10_B8 2507652344 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 02 | GRAND_JACQUES | ET489 | 3G | BB_ET489_W | Critical Temperature Taken Out of Service |  | Minor | 2026-05-08 23:08:24 | 2026-05-08 23:08:24 | Uncleared | SubNetwork=RNC,SubNetwork=YORNC07,SubNetwork=YORNC07_RadioNode,MeContext=BB_ET489_W,ManagedElement=BB_ET489_W,Equipment=1,FieldReplaceableUnit=1 2507814045 | ERICSSON | 2026-05-09 00:20:14
YAMOUSSOUKRO | BAONFLA | AC832 | 2G,3G,4G | BAONFLA | High Temp |  | Major | 2026-05-08 21:21:26 | 2026-05-08 21:21:26 | Uncleared | Cabinet No.=0, Subrack No.=0, Slot No.=19, Port No.=3, Board Type=UPEU, Manager Cabinet No.=NULL, Manager Subrack No.=NULL, User Label=NULL | HUAWEI | 2026-05-09 00:20:14
ABIDJAN 03 | BLOCKOSS_ST_PIER | ET401 | Microwave | ET401-ML6691-01 | High Temperature |  | Critical | 2026-05-06 11:06:54 | 2026-05-06 11:06:54 | Uncleared | SubNetwork=MINILINK,MeContext=ET401-ML6691-01,ManagedElement=ET401-ML6691-01,NPU_1003=1/4 2506284388 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | GUIGUEDOU | AC776 | 3G | WAC776 | NTP Server Reachability Fault |  | Major | 2026-05-08 23:32:10 | 2026-05-08 23:56:09 | Uncleared | SubNetwork=RNC,SubNetwork=SIRNC08,SubNetwork=SIRNC08_GROUP,MeContext=WAC776,ManagedElement=1,IpSystem=1,IpAccessHostEt=1,IpSyncRef=7 2507652397 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | MATERNITE | AC374 | 3G | WAC374 | NTP Server Reachability Fault |  | Major | 2026-05-08 23:54:00 | 2026-05-08 23:54:00 | Uncleared | SubNetwork=RNC,SubNetwork=AORNC06,SubNetwork=AORNC06_GROUP,MeContext=WAC374,ManagedElement=1,IpSystem=1,IpAccessHostEt=1,IpSyncRef=7 2507628877 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | MATERNITE | AC374 | 3G | WAC374 | NTP Server Reachability Fault |  | Major | 2026-05-08 23:54:00 | 2026-05-08 23:54:00 | Uncleared | SubNetwork=RNC,SubNetwork=AORNC06,SubNetwork=AORNC06_GROUP,MeContext=WAC374,ManagedElement=1,IpSystem=1,IpAccessHostEt=1,IpSyncRef=8 2507628876 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | GUIGUEDOU | AC776 | 3G | WAC776 | NTP Server Reachability Fault |  | Major | 2026-05-08 23:56:09 | 2026-05-08 23:56:09 | Uncleared | SubNetwork=RNC,SubNetwork=SIRNC08,SubNetwork=SIRNC08_GROUP,MeContext=WAC776,ManagedElement=1,IpSystem=1,IpAccessHostEt=1,IpSyncRef=8 2507652396 | ERICSSON | 2026-05-09 00:20:14
KORHOGO | TAFIRE | AC253 | 2G | AC253 | RF Unit Temperature Unacceptable |  | Minor | 2026-05-05 13:57:25 | 2026-05-05 13:57:25 | Uncleared | Cabinet No.=1, Subrack No.=4, Slot No.=0, Board Type=MRFU, PA Temperature ( C/F)=91/196, Board Temperature ( C/F)=84/183, Output Power (0.1 dBm)=470, Site No.=21, Site Type=BTS3900A GSM, Site Name=AC253 | HUAWEI | 2026-05-09 00:20:14
KORHOGO | TAFIRE | AC253 | 3G,4G | TAFIRE | RF Unit Temperature Unacceptable |  | Minor | 2026-05-05 13:57:27 | 2026-05-05 13:57:27 | Uncleared | Cabinet No.=1, Subrack No.=4, Slot No.=0, Board Type=MRFU, PA Temperature (C/F)=91/196, Board Temperature(C/F)=84/183, Output Power (0.1 dBm)=470 | HUAWEI | 2026-05-09 00:20:14
SAN-PEDRO | SARAKAGUI | AC877 | 2G,3G,4G | SARAKAGUI | RF Unit VSWR Threshold Crossed | 40 | Major | 2026-05-08 12:43:32 | 2026-05-08 12:43:32 | Uncleared | Cabinet No.=0, Subrack No.=62, Slot No.=0, TX Channel No.=0, Board Type=MRRU, VSWR Alarm Threshold (0.1)=30, VSWR(0.1)=40, Output Power (0.1 dBm)=437, RF Port=NULL | HUAWEI | 2026-05-09 00:20:14
ABIDJAN 01 | ARTISANAL | AC693 | 2G,3G,4G | ARTISANAL | RF Unit VSWR Threshold Crossed | 53 | Major | 2026-05-08 22:28:29 | 2026-05-08 22:28:29 | Uncleared | Cabinet No.=0, Subrack No.=70, Slot No.=0, TX Channel No.=0, Board Type=MRRU, VSWR Alarm Threshold (0.1)=30, VSWR(0.1)=53, Output Power (0.1 dBm)=467, RF Port=NULL | HUAWEI | 2026-05-09 00:20:14
ABENGOUROU | YALO_RURAL | IM362 | 4G | BB_IM362_GWL | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:29:24 | 2026-05-08 23:29:24 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_IM362_GWL,ManagedElement=BB_IM362_GWL,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=2 2507637182 | ERICSSON | 2026-05-09 00:20:14
ABENGOUROU | YALO_RURAL | IM362 | 4G | BB_IM362_GWL | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:29:24 | 2026-05-08 23:29:24 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_IM362_GWL,ManagedElement=BB_IM362_GWL,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=1 2507628479 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | DAKOURITROHOUIN | ET093 | 3G | BB_ET093_W | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:45:23 | 2026-05-08 23:45:23 | Uncleared | SubNetwork=RNC,SubNetwork=SIRNC08,SubNetwork=SIRNC08_RadioNode,MeContext=BB_ET093_W,ManagedElement=BB_ET093_W,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=2 2507802773 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | DAKOURITROHOUIN | ET093 | 3G | BB_ET093_W | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:45:23 | 2026-05-08 23:45:23 | Uncleared | SubNetwork=RNC,SubNetwork=SIRNC08,SubNetwork=SIRNC08_RadioNode,MeContext=BB_ET093_W,ManagedElement=BB_ET093_W,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=1 2507802774 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | DAKOURITROHOUIN | ET093 | 2G,4G | BB_ET093_GL | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:45:23 | 2026-05-08 23:45:23 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET093_GL,ManagedElement=BB_ET093_GL,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=1 2507829111 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | DAKOURITROHOUIN | ET093 | 2G,4G | BB_ET093_GL | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:45:23 | 2026-05-08 23:45:23 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET093_GL,ManagedElement=BB_ET093_GL,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=2 2507813638 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | GUIGUEDOU | AC776 | 2G,4G | BB_AC776_GL | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:45:23 | 2026-05-08 23:45:23 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_AC776_GL,ManagedElement=BB_AC776_GL,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=2 2507824287 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | GUIGUEDOU | AC776 | 2G,4G | BB_AC776_GL | Sync Frequency Reference Not Reliable |  | Information | 2026-05-08 23:45:23 | 2026-05-08 23:45:23 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_AC776_GL,ManagedElement=BB_AC776_GL,Transport=1,Synchronization=1,RadioEquipmentClock=1,RadioEquipmentClockReference=1 2507824291 | ERICSSON | 2026-05-09 00:20:14
SAN-PEDRO | PARA | ET178 | 3G | WET178 | Sync Reference PDV Problem |  | Major | 2026-05-08 22:34:30 | 2026-05-08 23:27:48 | Uncleared | SubNetwork=RNC,SubNetwork=YORNC02,SubNetwork=YORNC02_GROUP,MeContext=WET178,ManagedElement=1,TransportNetwork=1,Synchronization=1 2507335631 | ERICSSON | 2026-05-09 00:20:14
SAN-PEDRO | SASSANDRA_PHARE | ET371 | 4G | LET371 | Sync Reference PDV Problem |  | Major | 2026-05-08 23:23:31 | 2026-05-08 23:23:31 | Uncleared | SubNetwork=EnodeB,MeContext=LET371,ManagedElement=1,TransportNetwork=1,Synchronization=1 2507701201 | ERICSSON | 2026-05-09 00:20:14
SAN-PEDRO | SASSANDRA_PHARE | ET371 | 3G | WET371 | Sync Reference PDV Problem |  | Major | 2026-05-08 23:43:14 | 2026-05-08 23:43:14 | Uncleared | SubNetwork=RNC,SubNetwork=YORNC07,SubNetwork=YORNC07_GROUP,MeContext=WET371,ManagedElement=1,TransportNetwork=1,Synchronization=1 2507702230 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | NDOTRE | AC372 | RAN | AC372-OSmon | Temperature Outside Limits |  | Critical | 2026-04-26 17:36:30 | 2026-04-26 17:36:30 | Uncleared | SubNetwork=TCU,MeContext=AC372-OSmon,STN=0,Equipment=0 2500730363 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | NDOTRE | AC372 | RAN | AC372-OSmon | Temperature Outside Limits |  | Critical | 2026-04-30 13:18:46 | 2026-04-30 13:18:46 | Uncleared | SubNetwork=TCU,MeContext=AC372-OSmon,STN=0,Equipment=0 2502802136 | ERICSSON | 2026-05-09 00:20:14
ABENGOUROU | TAMBI | ET236 | 3G | BB_ET236_W | Temperature Sensor Failure |  | Major | 2026-05-04 15:35:04 | 2026-05-04 15:35:04 | Uncleared | SubNetwork=RNC,SubNetwork=AGRNC22,SubNetwork=AGRNC22_RadioNode,MeContext=BB_ET236_W,ManagedElement=BB_ET236_W,EquipmentSupportFunction=1,BatteryBackup=1 2505063332 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | EBIMPE | AC691 | ESC | ESC_AC691_C6610 | Temperature Sensor Failure |  | Minor | 2026-05-04 16:57:39 | 2026-05-04 16:57:39 | Uncleared | SubNetwork=ESC,MeContext=ESC_AC691_C6610,ManagedElement=ESC_AC691_C6610,Equipment=1,FieldReplaceableUnit=PowerController,Sensor=1 2498913489 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 02 | TIEVIESSOU | ET833 | 2G,4G | BB_ET833_GL | VSWR Over Threshold | 1.6 | Minor | 2026-04-24 00:48:15 | 2026-04-30 16:47:37 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET833_GL,ManagedElement=BB_ET833_GL,Equipment=1,FieldReplaceableUnit=RRUS-3_B1B3,RfPort=B 2499389965 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 02 | TIEVIESSOU | ET833 | 3G | BB_ET833_W | VSWR Over Threshold | 1.6 | Minor | 2026-04-24 00:48:15 | 2026-04-30 16:47:37 | Uncleared | SubNetwork=RNC,SubNetwork=YORNC07,MeContext=BB_ET833_W,ManagedElement=BB_ET833_W,Equipment=1,FieldReplaceableUnit=RRU-2_B1,RfPort=B 2499389964 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | GOUDI | ET148 | 2G,4G | BB_ET148_GL | VSWR Over Threshold | 1.6 | Minor | 2026-04-24 09:36:27 | 2026-05-07 13:49:40 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET148_GL,ManagedElement=BB_ET148_GL,Equipment=1,FieldReplaceableUnit=RRUS-3_B1B3,RfPort=C 2499554416 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 04 | OGHLWAPO | AC552 | 3G | BB_AC552_W | VSWR Over Threshold | 3.3 | Minor | 2026-05-08 20:58:17 | 2026-05-08 20:58:17 | Uncleared | SubNetwork=RNC,SubNetwork=ABRNC03,SubNetwork=ABRNC03_RadioNode,MeContext=BB_AC552_W,ManagedElement=BB_AC552_W,Equipment=1,FieldReplaceableUnit=RRU-5,RfPort=A 2507667405 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 02 | SONGON_BEL_HORIZON | ET815 | 2G,4G | BB_ET815_GL | VSWR Over Threshold | 1.6 | Minor | 2026-05-08 23:26:08 | 2026-05-08 23:26:08 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET815_GL,ManagedElement=BB_ET815_GL,Equipment=1,FieldReplaceableUnit=RRUS-1_B8B20,RfPort=C 2507417736 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 02 | SONGON_BEL_HORIZON | ET815 | 3G | BB_ET815_W | VSWR Over Threshold | 1.6 | Minor | 2026-05-08 23:26:08 | 2026-05-08 23:26:08 | Uncleared | SubNetwork=RNC,SubNetwork=YORNC07,MeContext=BB_ET815_W,ManagedElement=BB_ET815_W,Equipment=1,FieldReplaceableUnit=RRU-4,RfPort=C 2507417735 | ERICSSON | 2026-05-09 00:20:14
GAGNOA | KOUAMEKRO | ET769 | 2G,4G | BB_ET769_GL | VSWR Over Threshold | 1.6 | Minor | 2026-05-08 23:52:38 | 2026-05-08 23:52:38 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET769_GL,ManagedElement=BB_ET769_GL,Equipment=1,FieldReplaceableUnit=RRUS-1_B20,RfPort=B 2507829086 | ERICSSON | 2026-05-09 00:20:14
ABIDJAN 02 | KASSASSO | ET455 | 2G,4G | BB_ET455_GL | VSWR Over Threshold | 1.6 | Minor | 2026-05-08 23:57:10 | 2026-05-08 23:57:10 | Uncleared | SubNetwork=LTE_RadioNode,MeContext=BB_ET455_GL,ManagedElement=BB_ET455_GL,Equipment=1,FieldReplaceableUnit=RRUS-1_B8B20,RfPort=E 2507835961 | ERICSSON | 2026-05-09 00:20:14